| GSU Configuration Document | GSUCS1 |
| --- | --- |

|  |  | Serial Number |  |
| --- | --- | --- | --- |

| Location |  | Identification |  |
| --- | --- | --- | --- |

|  |  | GSU Registration Date |  |
| --- | --- | --- | --- |

This product must be registered for your 2 year Warranty

The registration Card is inside the box packaging

Alternatively register your product at designedelectronics.co.uk

Registration must be done at time of installation

GSU Configuration Setup

CHANNEL	                    ALARM NAME	                    ALARM NAME TO BE	                           SENSOR            	    ENABLED/DISABLED	     WARNING/SHUTDOWN

(NON ADJUSTABLE)

| 1 |  | High Delivery |  |  |  |  |  |  |  | SHUTDOWN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 2 |  | Extract Fail |  |  |  |  |  |  |  | SHUTDOWN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| (Channel 2 Adjustable Delay Setting 1-10 sec - Default : Maximum) |  |  |  |
| --- | --- | --- | --- |

| 3 |  | Excess Flow |  |  |  |  |  |  |  | SHUTDOWN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 4 |  | Low Cylinder |  |  |  |  |  |  |  | WARNING |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 5 |  | Aux |  |  |  |  |  |  |  | SHUTDOWN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Sounder Volume Setting Default : Maximum |  | Sounder Jumper Setting (Default : Multi) |  |
| --- | --- | --- | --- |

Remote Wiring Information

| Remote Shutdown | Connected to |  | Destination |  |
| --- | --- | --- | --- | --- |

| Remote Open Valve | Connected to |  | Destination |  |
| --- | --- | --- | --- | --- |

Output Wiring Information

| Low Cylinder (Warning output) | Connected to |  | Destination |  |
| --- | --- | --- | --- | --- |

| Low Cylinder (Warning output) | Connected to |  | Destination |  |
| --- | --- | --- | --- | --- |

| Slave Valve output | Connected to |  | Destination |  |
| --- | --- | --- | --- | --- |

| Additional Notes |  |
| --- | --- |

| Configuration Sheet Completed By : |  | Date : |  |
| --- | --- | --- | --- |